| MEP Contractor | Work | Location |
| --- | --- | --- |
|  | Installation of BTU Meters and Thermowells |  |

| Safe work method / Risk Assessment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Equipment Required: - Tool box (standard hand tools) - Torque wrench - Welding machine (if thermowell sockets to be welded) - Fire extinguisher - PPE - Lighting equipment for night work |  |  | Training Required (if any): |  |  |
| Task | Hazard-A | Likelihood-B |  | Impact (A+B) | Action to minimize risk |
| Site Arrival & Briefing | Unfamiliar site layout -1 | Low-1 |  | 2 | Conduct site induction and orientation |
| System Isolation & Draining | Pressurized water release -2 | Moderate-2 |  | 4 | Ensure full system isolation and depressurization before work |
| Dismantling Existing BTU Meter | Injury from heavy lifting -1 | Low-1 |  | 2 | Use a mechanical lifting aid and proper posture |
| Installing New BTU Meter | Pinched fingers or gasket failure -1 | Low-1 |  | 2 | Use gloves and hand tools with care |
| Thermowell Installation | Burn/injury from hot work -2 | Moderate-2 |  | 4 | Obtain a hot work permit and use a fire blanket/extinguisher |
| Sensor & Cable Connection | Trip hazard from cables -1 | Low-1 |  | 2 | Organize cables and use proper routing |
| Insulation Reinstatement | Leak or system pressure buildup -1 | Low-1 |  | 2 | Monitor the pressure gauge and use gradual valve opening |
| Work at Night | Skin irritation from insulation material - 1 | Low-1 |  | 2 | Use gloves and a mask when handling insulation |
| A-Hazard | B-Likelihood |  | A+B - Impact |  | Action |
| - Minor | 1-Low/Rarely |  | 1-2 = Low Risk |  | Proceed with caution |
| - Moderate | 2-Moderate/Occasional |  | 3-4 = Moderate risk |  | Regularly Monitor |
| - Serious | 3-High/Frequent |  | 5-6 = High/Extreme Risk |  | Do not proceed |